| Assessed By: |  | Kevin Lovett |  |  |  |  |  |  |  |  | Risk Assessment No: |  |  |  |  | RA11 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hazard Identified: |  | Hot Works |  |  |  |  |  |  |  |  | Date Reviewed: |  |  |  |  | June 2026 |  |
|  |  |  | A |  |  |  |  | B |  |  |  | C |  |  |  | D |  |
|  |  |  | Who’s at Risk? |  |  |  |  | Severity |  |  |  | Likelihood |  |  |  | Risk Rating |  |
|  |  |  | E |  | C | P |  | 3 | 2 | 1 |  | 3 | 2 |  | 1 | #### B x C = D |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 9 |  |
| Risk Assessment Ratings | 6-9 High Risk |  |  |  |  |  | 4 Medium Risk |  |  |  |  |  |  | 1-3 Low Risk |  |  |  |
| Key |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A E = Employees C = Contractors P = Public / 3rd parties |  |  |  | B 3 = Death or Major injury 2 = Reportable injury 1 = Minor Injury – Time off unlikely |  |  |  |  |  |  |  | C 3 = Very likely 2 = Possible 1 = Unlikely or Very Unlikely |  |  |  |  |  |
| Hazard Control Measures |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Residual Risk |
| - Only trained and competent persons shall carry out a soldering operations; - Follow all precautions outlined in the Hot Works Permit and ensure that any combustibles are removed or covered; - Ensure that a suitable fire extinguisher is located at the workplace e.g. water for solid fires, CO2 for electrical fires, dry powder for all fires, foam for fuel/liquid fires; - Ensure all persons are aware of the emergency procedures for the site; - Assess the material you are cutting for any potential gases that may be given off. Specific RPE shall need to be selected and worn; - Wear the correct PPE, which may require specific eye protection for the risk, flame retardant overalls, gaiters, aprons; - The area will be checked beforehand to ensure that it is clear of any flammable materials; - All hot-works will cease 1 hour before the close of work; - Operatives will carry out a fire check prior to leaving the site; - During all hot-work operations there will be a portable fire extinguisher to hand; - Where practicable, all hot-works will be undertaken away from combustible materials; - Only small quantities of adhesives will be stored on site; - Adhesive containers will not be exposed to naked flames or extremes of temperature; - Empty adhesive containers will be disposed of in a suitable container. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Low (3) |